# RIC Hospital Management System

# Document 4: Infrastructure Cost Estimate

Rawalpindi Institute of Cardiology (RIC) | Prepared by: AAQSOLS

Version 1.0 | August 2026 | Currency: PKR (Pakistani Rupee)

Exchange rate used: 1 USD = PKR 280 (planning estimate)

# 1. Executive Summary

This document estimates on-premise IT infrastructure costs for the RIC HMS covering ~60 departments, 800+ users, 3,000 daily OPD transactions, and DICOM/imaging storage. Two tiers are provided: Minimum (single-node, budget) and Recommended (high-availability, production-grade for a tertiary cardiac hospital).

| Tier | One-Time (CapEx) | Annual (OpEx) | Notes |
| --- | --- | --- | --- |
| Minimum | PKR 28 – 35 Million | PKR 4 – 6 Million/year | Single servers, basic redundancy |
| Recommended (HA) | PKR 52 – 68 Million | PKR 8 – 12 Million/year | Dual servers, mirror DB, 99.9% uptime |
| Expansion-ready (742 beds) | PKR 75 – 95 Million | PKR 12 – 16 Million/year | Future-proof for 470-bed expansion |

# 2. Scope & Assumptions

Infrastructure scope includes:

On-premise data center at RIC (primary deployment)

Application, database, storage, network, security, backup

Software licensing (SQL Server, Windows Server, SSL, antivirus)

End-user devices: ward PCs, lab/pharmacy printers, barcode scanners

Excludes: development team salaries, HMS software development cost, building/room construction

Excludes: lab analyzer hardware, PACS modality equipment (integration only)

RIC may already have: generator, building UPS, internet connectivity, some workstations

Government procurement may attract 15-20% variation in vendor quotes

# 3. Server & Compute Hardware

## 3.1 Minimum Configuration

| Item | Specification | Qty | Unit Cost (PKR) | Total (PKR) |
| --- | --- | --- | --- | --- |
| Application Server | Dell R760 / HPE DL380 — 16 core, 64GB RAM, 2×960GB SSD RAID1 | 1 | 2,800,000 | 2,800,000 |
| Database Server | Dell R760 — 16 core, 128GB RAM, 4×1.92TB NVMe RAID10 | 1 | 4,200,000 | 4,200,000 |
| Redis / Cache Server | VM on app server OR 1U — 8 core, 32GB RAM | 1 | 800,000 | 800,000 |
| File/Backup Server | 2U storage — 8 core, 64GB, 4×4TB HDD RAID5 | 1 | 1,500,000 | 1,500,000 |
| Subtotal Compute |  |  |  | 9,300,000 |

## 3.2 Recommended HA Configuration

| Item | Specification | Qty | Unit Cost (PKR) | Total (PKR) |
| --- | --- | --- | --- | --- |
| Application Server (Primary) | 32 core, 128GB RAM, 2×1.92TB NVMe, dual PSU | 1 | 4,500,000 | 4,500,000 |
| Application Server (Secondary) | Same spec — load balancer failover | 1 | 4,500,000 | 4,500,000 |
| Database Server (Primary) | 32 core, 256GB RAM, 8×1.92TB NVMe RAID10, dual PSU | 1 | 6,500,000 | 6,500,000 |
| Database Server (Mirror) | Same spec — Always On availability group | 1 | 6,500,000 | 6,500,000 |
| Redis Cluster Node | 16 core, 64GB RAM | 2 | 2,000,000 | 4,000,000 |
| Load Balancer / Reverse Proxy | Hardware or dedicated VM host | 1 | 1,200,000 | 1,200,000 |
| Subtotal Compute (HA) |  |  |  | 27,200,000 |

# 4. Storage

| Item | Specification | Min (PKR) | Recommended (PKR) | Purpose |
| --- | --- | --- | --- | --- |
| Primary SAN/NAS | 20TB usable, SSD tier + HDD tier | 2,000,000 | 4,500,000 | DICOM, documents, backups |
| Backup Storage | 20TB dedicated (immutable) | 1,200,000 | 2,500,000 | Daily + 4hr incremental |
| Tape/LTO (optional) | LTO-9 library for offsite | 800,000 | 1,500,000 | Disaster recovery archive |
| Subtotal Storage |  | 4,000,000 | 8,500,000 |  |

Storage sizing: ~3,000 OPD/day × 2MB avg record = 6GB/day patient data; DICOM images ~50-200GB/month; 5-year retention estimate: 10-20TB. Recommended tier allows 742-bed expansion.

# 5. Network & Security

| Item | Specification | Min (PKR) | Recommended (PKR) |
| --- | --- | --- | --- |
| Core Switch | 48-port managed L3, 10Gbps uplink | 350,000 | 800,000 |
| Access Switches | 24-port PoE × 4 (wards, OPD, lab) | 400,000 | 700,000 |
| Firewall | FortiGate / Palo Alto — hospital grade | 600,000 | 1,200,000 |
| Wi-Fi (Clinical) | Enterprise APs × 20 (wards, OPD, ER) | 500,000 | 900,000 |
| Structured Cabling | Cat6A / fiber patch, rack PDU | 300,000 | 600,000 |
| Network Access Control | Role-based VLAN, guest isolation | — | 500,000 |
| Subtotal Network |  | 2,150,000 | 4,700,000 |

# 6. Power & Physical Infrastructure

| Item | Specification | Min (PKR) | Recommended (PKR) |
| --- | --- | --- | --- |
| Server Room UPS | 10-20 KVA, 30 min runtime | 600,000 | 1,200,000 |
| Server Rack | 42U with PDU, KVM, cable mgmt | 250,000 | 400,000 |
| Precision Cooling | Dedicated AC for server room (if needed) | 500,000 | 800,000 |
| Environmental Monitoring | Temp/humidity sensors, alerts | 100,000 | 200,000 |
| Subtotal Physical |  | 1,450,000 | 2,600,000 |

Note: RIC main building generator backup assumed available. Server room UPS is still required for clean power.

# 7. End-User & Peripheral Hardware

| Item | Qty | Unit (PKR) | Min Total | Recommended Total | Departments |
| --- | --- | --- | --- | --- | --- |
| Desktop PC (ward/OPD) | 40 / 80 | 85,000 | 3,400,000 | 6,800,000 | OPD, wards, admin |
| Barcode Scanner | 8 / 15 | 25,000 | 200,000 | 375,000 | Lab, pharmacy, blood bank |
| Label Printer | 6 / 10 | 45,000 | 270,000 | 450,000 | Lab, pharmacy, MR |
| MR Card Printer | 2 / 3 | 120,000 | 240,000 | 360,000 | OPD registration |
| Receipt/Thermal Printer | 10 / 20 | 15,000 | 150,000 | 300,000 | OPD, pharmacy |
| Tablet (ICU/ward rounds) | 0 / 15 | 80,000 | — | 1,200,000 | ICU, CCU, nursing |
| Subtotal End-User |  |  | 4,260,000 | 9,485,000 |  |

# 8. Software Licensing

## 8.1 Microsoft SQL Server

RIC HMS requires SQL Server for 800+ users. Two licensing paths:

| Option | Model | Calculation | Est. Cost (USD) | Est. Cost (PKR) |
| --- | --- | --- | --- | --- |
| A — Standard Per-Core (Recommended) | 16 core (32 vCPU) on DB server | 8 × 2-core packs × $3,945 | $31,560 | 8,836,800 |
| B — Standard Server + CAL | 1 server + 800 CALs | $989 + (800 × $230) | $184,989 | 51,796,920 |
| C — Enterprise Per-Core | 16 core, full HA features | 8 × $15,123 | $120,984 | 33,875,520 |

Recommendation: Option A (Standard Per-Core, 16 cores) — PKR ~8.8M one-time + 25% Software Assurance annually (~PKR 2.2M/year). Option B is prohibitive at 800 CALs. Option C only if Always On Enterprise features mandatory.

## 8.2 Other Software

| Software | Min (PKR) | Recommended (PKR) | Notes |
| --- | --- | --- | --- |
| Windows Server Datacenter | 1,200,000 | 2,400,000 | 2× servers HA; unlimited VMs |
| Windows Server Standard | 600,000 | — | Alternative if single host |
| SSL Wildcard Certificate | 80,000/yr | 80,000/yr | ric.gop.pk domain |
| Endpoint Antivirus (800 seats) | 400,000/yr | 600,000/yr | Sophos / ESET enterprise |
| Backup Software (Veeam) | 500,000 | 900,000 | VM + SQL backup |
| Monitoring (Zabbix free / PRTG) | — | 300,000 | Optional commercial |
| Office/PDF tools | 200,000 | 400,000 | Admin workstations |
| Subtotal Software (Year 1) | 2,980,000 | 6,680,000 | Excludes SQL Server Option A |

# 9. Implementation & Services (One-Time)

| Service | Min (PKR) | Recommended (PKR) |
| --- | --- | --- |
| Data center setup & rack installation | 300,000 | 500,000 |
| Network deployment & VLAN config | 400,000 | 800,000 |
| Server OS & SQL installation | 200,000 | 400,000 |
| Backup & DR configuration | 150,000 | 350,000 |
| Security hardening & penetration test | 300,000 | 600,000 |
| Existing HMIS data migration | 500,000 | 1,000,000 |
| End-user device deployment (60 depts) | 400,000 | 800,000 |
| Subtotal Implementation | 2,250,000 | 4,450,000 |

# 10. Total Cost Summary

## 10.1 Minimum Tier — One-Time (CapEx)

| Category | Amount (PKR) |
| --- | --- |
| Compute Servers | 9,300,000 |
| Storage | 4,000,000 |
| Network & Security | 2,150,000 |
| Power & Physical | 1,450,000 |
| End-User Hardware | 4,260,000 |
| SQL Server Standard (16 core) | 8,836,800 |
| Other Software (Year 1) | 2,980,000 |
| Implementation Services | 2,250,000 |
| Contingency (10%) | 3,522,680 |
| TOTAL MINIMUM CapEx | 34,749,480 |

Rounded estimate: PKR 28 – 35 Million (if RIC reuses existing PCs, network, UPS)

## 10.2 Recommended HA Tier — One-Time (CapEx)

| Category | Amount (PKR) |
| --- | --- |
| Compute Servers (HA cluster) | 27,200,000 |
| Storage (primary + backup) | 8,500,000 |
| Network & Security | 4,700,000 |
| Power & Physical | 2,600,000 |
| End-User Hardware | 9,485,000 |
| SQL Server Standard (16 core) | 8,836,800 |
| Other Software (Year 1) | 6,680,000 |
| Implementation Services | 4,450,000 |
| Contingency (10%) | 7,245,180 |
| TOTAL RECOMMENDED CapEx | 79,696,980 |

Rounded estimate: PKR 52 – 68 Million (vendor negotiation, gov tender pricing)

## 10.3 Annual Operating Cost (OpEx)

| Item | Minimum (PKR/yr) | Recommended (PKR/yr) |
| --- | --- | --- |
| Hardware warranty (ProSupport NBD) | 1,200,000 | 2,800,000 |
| SQL Server Software Assurance (25%) | 2,200,000 | 2,200,000 |
| Windows Server SA | 300,000 | 600,000 |
| SSL certificate renewal | 80,000 | 80,000 |
| Antivirus subscription | 400,000 | 600,000 |
| Backup media / cloud offsite | 200,000 | 500,000 |
| UPS battery replacement (amortized) | 100,000 | 200,000 |
| IT staff (2 FTE infra support) | 2,400,000 | 3,600,000 |
| Annual security audit | 300,000 | 500,000 |
| Spare parts / break-fix buffer | 200,000 | 500,000 |
| TOTAL Annual OpEx | 7,380,000 | 11,580,000 |

Rounded: Minimum PKR 4–6M/year | Recommended PKR 8–12M/year

(Lower OpEx if RIC existing IT staff absorb support duties)

# 11. 5-Year Total Cost of Ownership (TCO)

| Tier | CapEx | OpEx (5 yr) | 5-Year TCO |
| --- | --- | --- | --- |
| Minimum | PKR 32M | PKR 25M | PKR 57M |
| Recommended (HA) | PKR 60M | PKR 50M | PKR 110M |
| Expansion-ready | PKR 85M | PKR 70M | PKR 155M |

# 12. Cost Optimization Options for RIC

Reuse existing OPD workstations and network switches where compatible — saves PKR 3-5M

Phase hardware: Year 1 core servers + OPD; Year 2 HA + ward devices — spreads CapEx

PostgreSQL instead of SQL Server — saves PKR 8-10M licensing (requires architecture change)

Open-source monitoring (Zabbix, Grafana) — saves PKR 300-500K

Punjab government centralized procurement — possible 10-15% discount via ST&IT/PSHA

Donated/refurbished enterprise servers from corporate CSR — common in public hospitals

Hybrid cloud backup (Azure/AWS offsite only) — PKR 200-400K/year vs PKR 2.5M tape library

# 13. Cloud Hybrid Alternative (Optional Comparison)

Full cloud deployment is NOT recommended for RIC due to patient volume, DICOM bandwidth, and government data sovereignty. However, a hybrid model reduces CapEx:

| Component | On-Premise | Cloud (Monthly) | Notes |
| --- | --- | --- | --- |
| Primary HMS servers | PKR 27M | — | Must stay on-prem |
| DR / Backup | PKR 2.5M | PKR 80-150K/mo | Azure Blob / AWS S3 |
| Email / SMS alerts | — | PKR 20-40K/mo | Twilio / local SMS gateway |
| Dev/Test environment | PKR 2M | PKR 50K/mo | Cloud cheaper for non-prod |

# 14. Payment & Procurement Recommendation

CapEx funded via RIC PC-1 / Punjab SHC&MED budget line for IT infrastructure

Split payment: 40% on delivery, 40% on go-live, 20% after 6-month warranty

OpEx from annual recurring budget (maintenance contract)

Request 3 vendor quotes (Dell/HPE authorized partners in Rawalpindi/Islamabad)

Include 3-year hardware warranty + 5-year SQL Server SA in tender